Hungarian Association for Nondestructive Testing	Version 2

CALL FOR PARTICIPATION

in the Interlaboratory Proficiency Test organised by MAROVISZ

Subject of the interlaboratory test: Ultrasonic thickness measurement

Provider of the interlaboratory test:

Hungarian Association for Nondestructive Testing

(MAROVISZ)

Address: 1211 Budapest, Varrógépgyár utca 8-10.

Email: marovisz@marovisz.hu

Person responsible for organising the interlaboratory test:

Mr. Károly Szalay

Office Manager of MAROVISZ

Phone: +36 1 277 5696; email: korvizsgálat@marovisz.hu

Mobile: +36 70 424 5140

Coordinator of the interlaboratory test:

Mr. Ferenc Fücsök

Phone: +36 1 264 9311; email: ffucsok@mailbox.hu

Sponsor of the interlaboratory test:

Négy S Bt.

1196 Budapest, Zalaegerszeg út 81.

Interlaboratory testing schedule:

Application start date: 15th July, 2010

Expected completion date of the test: 31st July, 2011

Eligibility requirement for participation:

Participation in the interlaboratory test is open without limitations. Applications are made by submission of the duly completed and signed copy of the application form attached hereto or downloadable from the website of MAROVISZ, to be sent by mail.

The measurement to be performed:

Ultrasonic thickness measurement is to be performed on a steel prism as well as on a straight and a bent tube in compliance with the provisions of the Hungarian Standard MSZ EN 14127:2005 ‘Nondestructive testing. Ultrasonic thickness measurement.’ The measuring device applied must be certified according to the Hungarian Standard MSZ EN 15317:2007. In order to facilitate performance of the task, guidelines and a measurement sheet will be provided to the participants.

Thickness must be determined on six designated surfaces by a set of five measurements each. Minimum thickness must also be determined on the same surfaces.

Expected execution period:	The measurement task will be sent on a preset date with the test specimens to be returned after one week of use.

Minimum number of participants in the interlaboratory test:

If less than ten applications are received, the interlaboratory test will not be launched for financial and organisational reasons.

Participation fee: 		30,000 HUF + VAT + delivery costs

Preferential rate for MAROVISZ members: 25,000 HUF + VAT + delivery costs

Fee for individual performance evaluation charged per person: 50 % + VAT of the basic price

As detailed in the participation fee, laboratories may choose from two options. They can either submit the results of one measurement to the Provider for evaluation or request additional evaluation for individual performances at an extra fee.

Method of processing the results:

The measurement results will be evaluated using the Z scoring system as described in the document provided by MAROVISZ entitled KV-SZ-01 M01 Statistical Evaluation for an Interlaboratory Test with Quantitative Measurement Data.

The conventional true values of quantities required for evaluation of the results will be determined by statistical means from the data of all participants.

Method of returning the evaluation results to the participants:

Evaluation of the laboratories’ performance requires processing and analysis of the results of all participants, therefore the evaluation report will be sent by the Provider within one month from completion of the interlaboratory test. Evaluation results will be disclosed in the form of a final report wherein the individual participating laboratories are only identified with their code allocated before the interlaboratory test.

After submission of the final report, a one-time consulting session will be organised to discuss the findings of the interlaboratory test upon request from at least five participants.

Collaboration with the accreditation bodies:

MAROVISZ collaborates with the National Accreditation Body (NAT) regarding interlaboratory tests. The President of the Association will in all instances inform the Managing Director of NAT about the interlaboratory tests published and launched, as well as submit the approved interlaboratory testing schemes to him or her. Upon request from any one participant in writing, the approved interlaboratory testing scheme may also be sent to other accreditation bodies specified by the applicant.